## 1
HOOD SIZING TOOL
STEP 1: |  | To determine the Ventex recommend size for your hood: | [36 empty] | GRAVITY VENTILATOR GV-I / GV-E
|  | 1. Enter required Air Flow in CFM: | [24 empty] | LOUVERS & BACK DRAFT DAMPERS
2. From the Chart below choose the Throat Area (Sqft) best suited to your S.P. Loss and Velocity
GV-I : INTAKE
Ventilator Function |  |  | GVE - Exhaust Unit | [13 empty] | GVI- Intake Unit | [21 empty] | INTAKE VENTILATOR RATIO
Throat Velocity |  |  | 609 |  |  |  | 861 |  |  |  | 963 |  |  | 1362 |  |  | 995 |  |  | 1407 | [18 empty] | 2:1 - OPEN HOOD AREA : THROAT AREA
S.P. Loss |  |  | 0.05 |  |  |  | 0.1 |  |  |  | 0.125 |  |  | 0.25 |  |  | 0.1 |  |  | 0.2
Throat Area Options (Sqft) |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
Example of throat size of Sqft would be |  |  | 0 |  | x | 0 |  | 0 | x | 0 | 0 | x | 0 | 0 | x | 0 | 0 | x | 0 | 0 | x | 0
STEP 2:
ENTER YOUR CHOSEN THROAT SIZE AND FUNCTION
|  |  | Material Galv. Alum. |  |  | Throat | Throat |  |  | Hood Size (in) | [8 empty] | Curb Cap(in) |  |  | Recommended
TAG: | QTY: | Exhaust: GVE |  | CFM |  | Short side | Long side | [14 empty] | Roof Curb OD
|  | Intake:GVI |  |  |  | Tw | TL | (Sqft) |  | HW |  |  | HL |  |  | Height |  |  | CW |  | CL | Rw | RL |  |  | FPM
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | STANDARD CONSTRUCTION | [11 empty] | GV-E : EXHAUST
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | [12 empty] | EXHAUST VENTILATOR RATIO
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | MATERIAL: |  |  | Galvanized steel 18 GA ( Aluminum Optional) | [8 empty] | 1:1 - OPEN HOOD AREA : THROAT AREA
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | THROAT OPENING: |  |  | 360°
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | HOOD SEAMS: |  |  | STANDING SEAMS AND SNAP-LOCK SEAMS ASSEMBLED WITH SELF-SEALING FASTENERS
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE!
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | BASE: |  |  | WELDS ALONG ALL VERTICAL CORNERS AND SEAMS
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE!
|  |  | Galv. |  | 800 |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE! | ROOF: |  |  | ANTI-CONDENSATE COATING ON ROOF TO PREVENT CONDENSATION
|  |  | Galv. |  |  |  |  | 0 | [15 empty] | #VALUE! | #VALUE! | #VALUE!
[27 empty] | SCREEN: |  |  | 0.051 FLATTENED EXPANDED METAL
[27 empty] | FINISH: |  |  | MILL
[27 empty] | PERFORMANCE | [7 empty] | DIMENSIONS
[27 empty] | Qty | Tag | MODEL | Material | Volume (CFM) | Hood velocity (FPM) | S.P. (in wg.) | Th. Area: Sq ft | Hood HWxHL(in) |  | Throat TWxTL(in) |  |  | Inside Curb Cap CWxCL (in) |  | Suggested Roof Curb OD R'W xR'L (in) |  | Height H (in) | Ship Wgt (lbs)
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
[30 empty] | Galv. | [5 empty] | x |  | x |  |  | x |  | x
222 CHURCH ST SOUTH ¦ ALLISTON ON L9R 2B7 ¦ TEL (905) 857-4700 ¦ FAX (905) 857-4730 ¦ Qc (450) 314-3091 ¦ www.ventexinc.com
Item
[46 empty] | 1 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GVI | Galv. | [44 empty] | 2 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
GVE | Alum. | [44 empty] | 3 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 4 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 5 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 6 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 7 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 8 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 9 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 10 | 0 | 4.3 | 3.1 | #VALUE! | #VALUE! | WRONG | #VALUE! | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | x | #VALUE! | #VALUE! | #VALUE! | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[47 empty] | 0 | 4.3 | 3.1 | #VALUE! | 1 | WRONG | 0 | 5 | #VALUE! | #VALUE! | #VALUE! | 2 | x | 2 | 1 | 48x120 | 38.7624 | 12 | x | 5.5 | 1 | 48x120 | 23 | 54.6889 | 302.6345 | 2143.9404 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 46 | #VALUE! | 58 | #VALUE! | 89 | #VALUE! | 112 | #VALUE! | 132 | #VALUE! | 168 | #VALUE! | #VALUE! | #VALUE! | 175 | #VALUE! | 222 | #VALUE! | 218 | #VALUE! | 278 | #VALUE!